Platelet indices

| Parameter | Description | Unit | Range |
| --- | --- | --- | --- |
| Mean platelet volume (MPV) | Analyser-calculated measure of thrombocyte volume | femtoliters (fL) | 6,5-12,0 |
| Platelet volume distribution width (PDW) | Indicator of volume variability in platelets size | percentage (%) | 15,0-17,0 |
| Plateletcrit (PCT) | Volume occupied by platelets in the blood | percentage (%) | 0,108-0,282 |
| Mean platelet component (MPC) | Measure of mean refractive index of the platelets | gram/decilitre (g/dL) |  |
| Mean platelet mass (MPM) | MPM is calculated from the platelet dry mass histogram | picogram (pg) |  |
| Platelet component distribution width (PCDW) | Measure of the variation in platelet shape | gram/decilitre (g/dL) |  |
| Platelet larger cell ratio (P-LCR) | Indicator of larger (> 12 fL) circulating platelets | percentage (%) | 11,0-45,0 |
| Immature platelet fraction (IPF) | Percentage of immature platelets | percentage (%) |  |
| P-LCC |  | 109/l | 30-90 |